## Slide 1: ACTN Use Case for Multi Domain Data Center Transport Interconnect draft-fang-actn-multidomain-dci-00.txt
Luyuan Fang, Microsoft
ACTN BoF, IETF 90, July 24, 2014

## Slide 2: Global Data Center Interconnect
Data Centers are geographically spread and homed on primarily internal transport network domains or on trusted external provider domains.
There may be organizational boundaries within internal domains.
Many applications require dynamic and elastic connectivity across multi-domain networks.
Each domain may employ different vendor equipment and/or heterogeneous control/management technology for its domain operation (e.g., control plane, NMS-based, SDN control, etc.)
Domain 2
Domain 1
Domain 3
Domain 4
DC A
DC B
DC C
DC D
DC E
DC F

## Slide 3: Multi-domain DCI Applications
VM Migration
Global Load Balancing
Real-time Disaster Recovery
On-demand Virtual Connection/Circuit Services

## Slide 4: Global DCI Operation/Control View
Transport
Network 1
Transport
Network 2
Transport
Network 3
Optical Network Control 1
Global Data Center Interconnect Operation Control
DC A
DC E
DC B
DC C
DC D
DC F
Need a hierarchical operation/control of optical transport network
Building on top of existing network control technologies/domains to be able to E2E
network control to help global DCI transport operation/control
Need standard-based abstraction/APIs and protocols for E2E network control and global
DCI operation control.
Optical Network Control 2
Optical Network Control 3
E2E Optical Network Control

## Slide 5: Requirements
The interfaces between the Data Center Operation and each transport network domain SHOULD support standards-based abstraction with a common information/data model.
Network Query (Pull Model) capability from the Data Center Operation to each transport network domain to collect potential resource availability (e.g., BW availability, latency range, etc.) between a few data center locations and the negotiation capability on the abstraction level.
Network Path Computation Request from the Data Center Operation to each transport network domain to estimate the path availability.

## Slide 6: Requirements (Cont.)
Network Virtual Connections/Circuits Request from the Data Center Operation to each transport domain to establish an end-to-end virtual connections/circuits.
Network Virtual Connections/Circuits Modification Request from the Data Center Operation to each transport domain to change QoS/SLA, protection schemes of the existing connections/circuits.
Network Abnormality Report (Push Model) from each transport domain to the Data Center Operation indicating the service impacting network conditions or the potential degradation indications of the existing virtual connections/circuits.

## Slide 7: Summary/Next Steps
Refine the requirements
  Security requirements need to be added.
Comments are always welcome.
Thanks You!