## Slide 1: Power Benchmarking
Vishwas Manral
Puneet Sharma
Sujata Banerjee
Yang Ping

## Slide 2: Problem statement
Power becoming a critical factor in Networks
Operators seeking more information
“Maximum Rate Power (MRP)” is of little use
  Average Power and MRP not correlated
A lot of devices run at very low utilization rates
Network products need to provide
  Need to measure better
  Better reporting
  Better ways to compare power usage of different network equipment and control

## Slide 3: AIM
Ability to provide a means of measuring power usage based on traffic
General flexible benchmark to work across a variety of devices
Take into consideration environmental factors like
  input air temperature
  energy required for heat dissipation
  Network/ device/ connector factors

## Slide 4: Document details
Defines 2 metrics
  NECR (Network Energy Consumption Rate)
    To optimize the run time energy usage for different devices, the additional energy consumption that will result as a factor of additional traffic needs to be known. The NECR defines the power usage increase in MilliWatts per Mbps of data at the physical layer.
  NEPI (Network Energy Proportionality Index)
    In the ideal case the power consumed by a device is proportional to its offered network load. The average difference between the ideal(I) and the measured (M) power consumption defines the EPI.

## Slide 5: Survey of Work in other standard bodies
ATIS: Alliance for Telecommunications Industry Solutions
  Green initative: Telecommunication Energy Efficiency (TEE) group
  ANSI accredited
EPA
  Energy Star
GreenGrid
METI – Japan, dynamic tier selection, limited impact
BBF – vendors and carriers; currently dormant on network energy efficiency
ITU-T ß work in progress, no real details
European Union: Broadband code-of-conduct, Datacenter code-of-conduct
Energy Consumption Rating (ECR) Initiative
IEEE: 802.3az (EEE)
ECMA standard 393 ProxZzzy for sleeping hosts (implemented in Windows 7?)
CSCI
Miercom Green certification