## Slide 1: DetNet WG IETF #94, Yokohama
Use Case Authors
Pascal Thubert (Cisco) (Wireless for Industrial)
Craig Gunther (Harman) (Pro Audio)
Ethan Grossman (Dolby)
Patrick Wetterwald (Cisco) (Electrical Utilities)
Jean Raymond (Hydro Quebec)
Jouni Korhonen (Broadcom) (Cellular Radio Access Networks)
Subir Das (Applied Comm Sci) (Building Automation Systems)
Yu Kaneko (Toshiba)
Yiyong Zha (Huawei Tech) (Mobile Networks, Video, Games, VR)
Use Cases Consolidated Draft
Monday, November 2nd, 2015
Ethan Grossman, editor

## Slide 2: Contents
Consolidated use case draft
    draft-grossman-detnet-use-cases-00
  Goals
  Origin
  Current Status
  Future Direction
  Brief overview of use cases
  Use case common themes
  Open discussion

## Slide 3: Use Case Draft Goals
Provide Industry context for DetNet goals
  What are the use cases?
  How are they addressed today?
  What do we want to do differently in the future?
  What do we want the IETF to deliver?
Highlight commonalities between use cases
Yardstick for functionality of any proposed design
  To what extent does it enable these use cases?
This DetNet use case draft explicitly does not
  State specific requirements for DetNet
  Suggest specific design, architecture, or protocols

## Slide 4: Use Case Draft Origin
Same use cases presented at IETF93 DetNet BOF
  https://www.ietf.org/proceedings/93/slides/slides-93-detnet-1.pptx
Based on IETF93 (and new) drafts
  Wireless for industrial applications
    draft-thubert-6tisch-4detnet-01
  Professional audio
    draft-gunther-detnet-proaudio-req-01
  Electrical utilities
    draft-wetterwald-detnet-utilities-reqs-02
  Building automation systems
    draft-bas-usecase-detnet-00
  Radio/mobile access networks
    draft-korhonen-detnet-telreq-00
  Mobile Networks, Video, Games, VR
    draft-zha-detnet-use-case-00

## Slide 5: Use Case Draft Status
A single Use Case document
  To be owned by the WG
  All use cases in one place
Sufficient detail to show the use cases, not more
Currently a copy-and-paste from individual drafts
Work in progress - does not yet meet goals

## Slide 6: Use Case Draft Future Plans
Streamline details to the minimum required
  Improve readability, ease of understanding
Highlight commonalities between use cases
Add more use case drafts as needed
  Industrial (in process)

## Slide 7: Use Case Overview
As presented at IETF93 DetNet BOF
    Professional audio
    Electrical utilities
    Building automation systems
    Wireless for industrial applications
    Radio/mobile access networks
Brief summary of each

## Slide 8: Professional Audio
Music and Film Production Studios
Broadcast
Cinema
Live (10-15ms worst case latency)
  Stadiums, halls, theme parks, airports
Today
Expensive proprietary networks
  Intensive manual configuration of entire A/V network
  Over provisioned bandwidth requirements
  Separate networks for Data and A/V
  Latency due to extra buffering (to avoid underruns)
Separate AVB Layer 2 LANs
  Can’t route over IP, thus hard to scale up

## Slide 9: Pro Audio Future
Share content between Layer 2 AVB segments within a Layer 3 intranet
  46 Tbps for 60,000 signals running across 1,100 miles of fiber
  Geographically distributed
Plug-and-play all the way up the protocol stack
  Reduce manual network setup and admin
  Allow quick changes in network devices and topology
Re-use unused reserved bandwidth for best-effort traffic

## Slide 10: Pro Audio asks from IETF
Campus/Enterprise-wide (think size of San Francisco)
Layer 3 routing on top of AVB QoS networks
  Content delivery with bounded, lowest possible latency
  Intranet, i.e. not the whole Internet (yet…)
  IntServ and DiffServ integration with AVB (where practical)
Single network for A/V and IT traffic
  Standards-based, interoperable, multi-vendor
  IT department friendly

## Slide 11
Example - Quebec
514 substations
  Max 280 km between substations
60 generating stations
143 administrative buildings
10,500 km of optical fibre
315 microwave links
  Covering 10,000 km
205 mobile radio repeater sites
Carries instantaneous electrical information
    Currents, voltages, phases, active and reactive power…
Carries real-time commands
  Trip, open/close relay…
Utility Networks

## Slide 12: Utility Networks Today
Use of TDM networks
  Dedicated application network
  Specific calibration of the full chain (costly)
No mixing of OT and IT applications on the same network

## Slide 13: Utility Future
Increase electric grid reliability / optimization
Support distributed energy resources
Move from TDM to Multi-Services network

## Slide 14: Utility asks from IETF
  Mixed L2 and L3 topologies
  Deterministic behavior
    Bounded latency and jitter
    High availability, low recovery time
    Redundancy, low packet loss
    Precise timing
  Centralized computing of deterministic paths
    Distributed configuration may also be useful

## Slide 15: Building Automation Systems (BAS)
Monitor and control the states of various devices
  sensors (temperature, humidity), room lights, doors, HVAC, Fans, valves...
Building
HMI
BMS
Dev
Operator
Dev
Management
Network
Field
Network
Dev
Dev
BMS = Building Management Server
HMI = Human Machine Interface
LC = Local Controller
LC
LC
LC needs to communicate devices at each 10ms~100ms with 99.9999% availability for feedback control and emergency control
(e.g., fire detection)

## Slide 16: Building Automation Today
There are many protocols in the field network
  Different MAC/PHY specifications
    Some proprietary, some standards-based
  Low interoperability
    Vendor lock in
    High development cost for Local Controllers
    Need protocol translation gateways
  Expensive BAS
Some field network protocols do not have security
  Not so bad when isolated but now things have changed
    IT and OT are on the same internal network

## Slide 17: Building Automation Future
More and more sensors, devices
  Large and complex networks
  Fine grain environmental monitoring and control >> Reduction of energy consumption
Connected to other networks (e.g., Enterprise network, Home network, Internet)
  Better management of network to improve residents and operator’s convenience and comfort
    Control room lights or HVAC from desktop PC in office, Phone apps and so on
    Monitor and control device status via the internet

## Slide 18: BAS asks from IETF
An architecture that can guarantee
  Communication delay < 10ms~100ms with several hundreds of devices
  99.9999% network availability
    detailed requirements depends upon BAS functions (environmental monitoring, fire detection, feedback control and so on)
An interoperable protocol specification that satisfies the above timing and QoS requirements

## Slide 19: Wireless for Industrial
Where wired is not an option
  Rotating, portable, or fast moving objects
  Resource-constrained (IoT) devices
Real-time QoS required
  Sensors and actuators
  Control loops
Huge networks, real-time big data
  IoT, Factories
  Distributed sensing and analytics
Reliability, redundancy
Security
Huge, cost sensitive market
  1% cost reduction could save $100B

## Slide 20: Wireless Industrial Today
  Multiple deterministic wireless buses & networks
    Incompatible with each other and with IP traffic
Management &
Control
Application
Network
WiHART
WIA-PA
ISA100
HART
WIA-PA
ISA100
WIA-PA
ISA100
Wireless
HART

## Slide 21: Wireless Industrial future using 6TiSCH
Unified network and management
  Support deterministic and best-effort traffic
  Wide Area, IP routing
  Reduce cost – replace multiple buses
  Enable innovation – optimize, gather previously unmeasured data
  Leverage open protocols (IETF, IEEE and ETSI)
  Use IPv6 to reach non-critical devices for Industrial Internet
Use 6TiSCH for deterministic wireless
  Time-Slotted Channel-Hopping Wireless MAC

## Slide 22: 6TiSCH asks from IETF
6TiSCH depends on DetNet to define
  Configuration (state) and operations for deterministic paths
  End-to-end protocols for deterministic forwarding (tagging, IP)
  Protocol for packet replication and elimination
  Protocol for packet automatic retries (ARQ) (specific to wireless)
6TiSCH
Common Network Management and Control
HART
WIA-PA
ISA100

## Slide 23: Radio Access Networks
Connectivity between the remote radios and the baseband processing units
Base band to radio heads – *very* *strict* latency & jitter and BER requirements. High BW needs. Precise synchronization.
Between base stations – developing towards tighter latency, jitter & synchronization requirements.
Connectivity between base stations
Connectivity between the base stations & the core network
Core to base station – business as usual so far. Latency becoming a concern.

## Slide 24: Radio Access Networks Today
Front-haul (base band to radio)
  Dedicated point-to-point fiber connection is common
  Proprietary protocols and framings
  Custom equipment and no real networking
Mid-haul (between base stations) & Back-haul (core to base station)
  Mostly normal IP networks, MPLS-TP, etc.
  Clock distribution and sync using 1588 and SyncE

## Slide 25: Radio Access Networks Future
Unified standards-based transport protocols and standard networking equipment that can make use of underlying deterministic link-layer services
Unified and standards-based network management systems and protocols in all parts of the network

## Slide 26: Radio Access Networks asks IETF
  A standard for data plane transport specification
    Unified among all *hauls
    Deployed in a highly deterministic network environment
  A standard for data flow information models that
    Are aware of the time sensitivity and constraints of the target networking environment
    Are aware of underlying deterministic networking services (e.g. on the Ethernet layer)

## Slide 27: Use Case Themes (1/2)
Unified, standards-based network
  Extensions to Ethernet (not a ”new” network)
  Centrally administered (some distributed, plug-and-play)
  Standardized data flow information models
  Integrate L2 (bridged) and L3 (routed)
  Guaranteed end-to-end delivery
  Replace multiple proprietary determinstic networks
  Mix of deterministic and best-effort traffic
  Unused deterministic BW available to best-effort traffic
  Lower cost, multi-vendor solutions

## Slide 28: Use Case Themes (2/2)
  Scalable size
    Long distances (many km)
    Many hops (radio repeaters, microwave links, fiber links...)
Scalable timing parameters and accuracy
  Bounded latency, guaranteed worst case maximum, minimum
  Low latency (low enough for e.g. control loops, may be < 1ms)
High availability (may be 99.9999% up time)
  Reliability, redundancy (lives at stake)
Security
  From failures, attackers, misbehaving devices
  Sensitive to both packet content and arrival time
Deterministic flows
  Isolated from each other
  Immune from best-effort traffic congestion

## Slide 29: Open Discussion
Is the WG ready to adopt this draft?
Input on future direction for this draft?
  Relation to formal requirements?
  Scope?
  Breadth and depth sufficient?
Authors for additional use cases?
Other?